PORTABLE WRISTBAND FOR ALCOHOL AND INHALANT DETECTION

Domain and Sub-Domain

- Domain:
Embedded Systems and Healthcare Monitoring

- Sub-Domain:
Wearable Health Technology and Edge AI-Based Sensor Systems

This project falls under the domain of embedded healthcare systems, specifically focusing on wearable technology integrated with intelligent edge-based decision-making for real-time physiological monitoring.

Algorithm Used

The system implements an Adaptive Weighted Threshold Risk Algorithm (AWTRA) for real-time condition assessment.

The algorithm consists of the following components:

- Moving Average Filtering Algorithm
Used to reduce sensor noise and stabilize real-time readings from the MQ3 alcohol sensor and MLX90614 temperature sensor.

- Multi-Level Threshold Classification
Body temperature is categorized into Normal, Mild Fever, High Fever, and Critical levels based on predefined medical thresholds.

- Weighted Risk Scoring Mechanism
A numerical risk score is calculated by assigning weighted values to abnormal temperature and alcohol levels.
Based on the final score, the system classifies the condition into:

  - SAFE

  - MEDIUM RISK

  - HIGH RISK

This approach represents a lightweight Edge AI decision model, optimized for low-memory embedded platforms such as Arduino Nano.

Programming Language

The system is developed using:

- Embedded C / Arduino C++

- Implemented on the Arduino Nano platform

- Developed using the Arduino IDE

Supporting libraries include:

- Wire (I2C communication)

- Adafruit_GFX

- Adafruit_SSD1306

- Adafruit_MLX90614

Model Used

The project does not utilize deep learning or neural network-based models due to hardware limitations of the microcontroller.

Instead, it employs a:

Rule-Based Edge AI Model with Adaptive Threshold Classification

This deterministic model enables intelligent decision-making directly on the device without requiring cloud processing or external computation.

Additional Features

- Real-time alcohol and inhalant detection

- Non-contact body temperature measurement

- OLED-based user interface

- Multi-level LED indication system

- Audible buzzer alert mechanism

- Noise reduction using moving average filtering

- Non-blocking real-time processing using millis()

- Portable and wearable wristband design

- Memory-optimized implementation for Arduino Nano